## List (hidden)
Severity Index <3 Char> (SIU / SC1 / SC2 / SC3 / SC4 / SC5) | Meter Type <25 Char> (CONTINUOUS / GAUGE / CHARACTERISTIC) | Reading Type <10 Char> (ACTUAL / DELTA)
SIU | CONTINUOUS | ACTUAL
SC1 | GAUGE | DELTA
SC2 | CHARACTERISTIC
SC3
SC4
SC5
Note on E1: Mandatory, when meter type is continuous.

## Meter Details
Meter Name <30 Char> | Meter Description <100 Char> | Meter Type <25 Char> (CONTINUOUS / GAUGE / CHARACTERISTIC) | Reading Type <10 Char> (ACTUAL / DELTA) | Domain for Characteristic Meter <18 Char> | Measurement Unit <8 Char>
Existing data | Existing data | Existing data | Existing data | N/A | Existing data
Note on D1: Mandatory, when meter type is continuous.
Note on E1: Mandatory, when meter type is characteristic. Fill the list of values in tab 'Domain'.

## Domain for Characteristic Meter
Domain Name <18 Char> | Domain Description <100 Char> | Domain Value | Domain Value Description <100 Char>
N/A | N/A | N/A | N/A
Note on A1: Only fill this table if there is a need for domain from sheet 'Meter Details'

## Meter Group
Meter Group <19 Char> | Description <100 Char> | Meter Name <30 Char>
Existing data, but nil. | Existing data, but nil. | Existing data, but nil.

## Failure Class
Failure Class <30 Char> | Failure Class Description <100 Char> | Problem Code <30 char> | Problem Description <100 Char> | Severity Index <3 char> (SCU, SC1, SC2, SC3, SC4, SC5)
Existing data | Existing data | Existing data | Existing data | Sbst populate.
NEL1902

## Sheet1
Row Labels
Automatic Train Control Onboard
Automatic Vehicle Operation
Automatic Vehicle Protection
Automatic Vehicle Supervision
Building Management System
Clock System
Computer Based Interlocking
Intercom
Power Supply System
Radio System
Signalling & Communication
Trainborne Video Surveillance System
Video Surveillance System
Intrusion Detection Sysem
Visual Information System
Track circuit (SER/CCER)
Track circuit (TRACKSIDE)
Grand Total

## Failure Class Details
Failure Class <30 Char> | Failure Class Description <100 Char> | Problem Code <30 char> | Problem Description <100 Char> | Cause Code <30 char> | Cause Description <100 Char> | Remedy Code <30 char> | Remedy Description <100 Char>
BMS/BMS | Building Management System | BMS/BMS/P/004 | DDC Alarm / Fault | BMS/BMS/C/004 | Hardware issues | BMS/BMS/R001 | Replacement
BMS/BMS | Building Management System | BMS/BMS/P/004 | DDC Alarm / Fault | BMS/BMS/C/001 | BMS fault. | BMS/BMS/R/003 | Re/configuration
BMS/BMS | Building Management System | BMS/BMS/P/004 | DDC Alarm / Fault | BMS/BMS/C/004 | Hardware issues | BMS/BMS/R/004 | Replace DC and tested ok
BMS/BMS | Building Management System | BMS/BMS/P/001 | BMS DDC Offline | BMS/BMS/C/003 | Equipment failure | BMS/BMS/R001 | Replacement
BMS/BMS | Building Management System | BMS/BMS/P/001 | BMS DDC Offline | BMS/BMS/C/004 | Hardware issues | BMS/BMS/R/004 | Replace DC and tested ok
BMS/BMS | Building Management System | BMS/BMS/P/001 | BMS DDC Offline | BMS/BMS/C/003 | Equipment failure | BMS/BMS/R001 | Replacement
BMS/BMS | Building Management System | BMS/BMS/P/003 | BMS WS unable to control the equipment | BMS/BMS/C/002 | Communication breakdown | BMS/BMS/R/002 | Monitoring
BMS/BMS | Building Management System | BMS/BMS/P/002 | BMS Workstation shows wrong equipment status | BMS/BMS/C/003 | Equipment failure | BMS/BMS/R/001 | Follow up
BMS/BMS | Building Management System | BMS/BMS/P/002 | BMS Workstation shows wrong equipment status | BMS/BMS/C/003 | Equipment failure | BMS/BMS/R001 | Replacement
BMS/BMS | Building Management System | BMS/BMS/P/002 | BMS Workstation shows wrong equipment status | BMS/BMS/C/004 | Hardware issues | BMS/BMS/R001 | Replacement
AMS/IDS | Intrusion Detection Sysem | AMS/IDS/P/005 | Door Lock Failed/Unknown | AMS/IDS/C/001 | Equipment failure | AMS/IDS/R/003 | Replacement
AMS/IDS | Intrusion Detection Sysem | AMS/IDS/P/005 | Door Lock Failed/Unknown | AMS/IDS/C/002 | Field End: Exit Pushbutton | AMS/IDS/R/001 | Adjustment
AMS/IDS | Intrusion Detection Sysem | AMS/IDS/P/002 | Break glass Defective | AMS/IDS/C/001 | Equipment failure | AMS/IDS/R/003 | Replacement
AMS/IDS | Intrusion Detection Sysem | AMS/IDS/P/006 | Egress button Defective | AMS/IDS/C/001 | Equipment failure | AMS/IDS/R/003 | Replacement
AMS/IDS | Intrusion Detection Sysem | AMS/IDS/P/004 | Door contact Faulty | AMS/IDS/C/001 | Equipment failure | AMS/IDS/R/003 | Replacement
AMS/IDS | Intrusion Detection Sysem | AMS/IDS/P/007 | EM lock/Drop bolt Faulty | AMS/IDS/C/001 | Equipment failure | AMS/IDS/R/003 | Replacement
AMS/IDS | Intrusion Detection Sysem | AMS/IDS/P/008 | IDS PSU Faulty | AMS/IDS/C/001 | Equipment failure | AMS/IDS/R/003 | Replacement
AMS/IDS | Intrusion Detection Sysem | AMS/IDS/P/001 | Antenna Faulty | AMS/IDS/C/001 | Equipment failure | AMS/IDS/R/003 | Replacement
AMS/IDS | Intrusion Detection Sysem | AMS/IDS/P/003 | CAU Breakdown | AMS/IDS/C/001 | Equipment failure | AMS/IDS/R/003 | Replacement
AMS/IDS | Intrusion Detection Sysem | AMS/IDS/P/003 | CAU Breakdown | AMS/IDS/C/003 | Module (Card) failure | AMS/IDS/R/003 | Replacement
AMS/IDS | Intrusion Detection Sysem | AMS/IDS/P/003 | CAU Breakdown | AMS/IDS/C/001 | Equipment failure | AMS/IDS/R/002 | Follow up
LSCC/VSS | Video Surveillance System | LSCC/VSS/P/001 | CAMERA NO VIDEO | LSCC/VSS/C/003 | Equipment failure | LSCC/VSS/R/004 | Replacement
LSCC/VSS | Video Surveillance System | LSCC/VSS/P/001 | CAMERA NO VIDEO | LSCC/VSS/C/004 | Faulty | LSCC/VSS/R/004 | Replacement
LSCC/VSS | Video Surveillance System | LSCC/VSS/P/003 | DVR OFFLINE | LSCC/VSS/C/001 | Communication breakdown | LSCC/VSS/R/004 | Replacement
LSCC/VSS | Video Surveillance System | LSCC/VSS/P/003 | DVR OFFLINE | LSCC/VSS/C/003 | Equipment failure | LSCC/VSS/R/004 | Replacement
LSCC/VSS | Video Surveillance System | LSCC/VSS/P/003 | DVR OFFLINE | LSCC/VSS/C/002 | Digital Video Recorder (DVR) | LSCC/VSS/R/005 | Reset
LSCC/VSS | Video Surveillance System | LSCC/VSS/P/003 | DVR OFFLINE | LSCC/VSS/C/007 | Software corruption | LSCC/VSS/R/005 | Reset
LSCC/VSS | Video Surveillance System | LSCC/VSS/P/006 | UNABLE TO SWITCH/CONTROL OCC WALL MONITOR RMS | LSCC/VSS/C/003 | Equipment failure | LSCC/VSS/R/002 | Re/configuration
LSCC/VSS | Video Surveillance System | LSCC/VSS/P/006 | UNABLE TO SWITCH/CONTROL OCC WALL MONITOR RMS | LSCC/VSS/C/005 | HARDDISK FAULTY | LSCC/VSS/R/003 | Repair in/house
LSCC/CLK | Clock System | LSCC/CLK/P/003 | Clock Failure | LSCC/CLK/C/001 | Equipment failure | LSCC/CLK/R/004 | Reset
LSCC/CLK | Clock System | LSCC/CLK/P/002 | Auto backup alarm switch Failure | LSCC/CLK/C/001 | Equipment failure | LSCC/CLK/R/004 | Reset
LSCC/CLK | Clock System | LSCC/CLK/P/002 | Auto backup alarm switch Failure | LSCC/CLK/C/001 | Equipment failure | LSCC/CLK/R/003 | Replacement
LSCC/CLK | Clock System | LSCC/CLK/P/005 | Digital clock Failure | LSCC/CLK/C/001 | Equipment failure | LSCC/CLK/R/004 | Reset
LSCC/CLK | Clock System | LSCC/CLK/P/005 | Digital clock Failure | LSCC/CLK/C/001 | Equipment failure | LSCC/CLK/R/003 | Replacement
LSCC/CLK | Clock System | LSCC/CLK/P/001 | Analogue clock Failure | LSCC/CLK/C/001 | Equipment failure | LSCC/CLK/R/004 | Reset
LSCC/CLK | Clock System | LSCC/CLK/P/001 | Analogue clock Failure | LSCC/CLK/C/001 | Equipment failure | LSCC/CLK/R/003 | Replacement
LSCC/VIS | Visual Information System | LSCC/VIS/P/004 | Display Flickering | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/008 | Replacement
LSCC/VIS | Visual Information System | LSCC/VIS/P/004 | Display Flickering | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/001 | Adjustment
LSCC/VIS | Visual Information System | LSCC/VIS/P/004 | Display Flickering | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/004 | No action taken
LSCC/VIS | Visual Information System | LSCC/VIS/P/004 | Display Flickering | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/002 | Follow up
LSCC/VIS | Visual Information System | LSCC/VIS/P/004 | Display Flickering | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/010 | Temporary isolation
LSCC/VIS | Visual Information System | LSCC/VIS/P/004 | Display Flickering | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/006 | Re/configuration
LSCC/VIS | Visual Information System | LSCC/VIS/P/004 | Display Flickering | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/003 | Monitoring
LSCC/VIS | Visual Information System | LSCC/VIS/P/004 | Display Flickering | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/005 | Pending
LSCC/VIS | Visual Information System | LSCC/VIS/P/004 | Display Flickering | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/009 | Reset
LSCC/VIS | Visual Information System | LSCC/VIS/P/004 | Display Flickering | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/007 | Repair in/house
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/003 | Equipment failure | LSCC/VIS/R/008 | Replacement
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/003 | Equipment failure | LSCC/VIS/R/001 | Adjustment
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/003 | Equipment failure | LSCC/VIS/R/004 | No action taken
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/003 | Equipment failure | LSCC/VIS/R/002 | Follow up
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/003 | Equipment failure | LSCC/VIS/R/010 | Temporary isolation
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/003 | Equipment failure | LSCC/VIS/R/006 | Re/configuration
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/003 | Equipment failure | LSCC/VIS/R/003 | Monitoring
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/003 | Equipment failure | LSCC/VIS/R/005 | Pending
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/003 | Equipment failure | LSCC/VIS/R/009 | Reset
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/003 | Equipment failure | LSCC/VIS/R/007 | Repair in/house
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/001 | Communication breakdown | LSCC/VIS/R/008 | Replacement
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/001 | Communication breakdown | LSCC/VIS/R/001 | Adjustment
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/001 | Communication breakdown | LSCC/VIS/R/004 | No action taken
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/001 | Communication breakdown | LSCC/VIS/R/002 | Follow up
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/001 | Communication breakdown | LSCC/VIS/R/010 | Temporary isolation
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/001 | Communication breakdown | LSCC/VIS/R/006 | Re/configuration
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/001 | Communication breakdown | LSCC/VIS/R/003 | Monitoring
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/001 | Communication breakdown | LSCC/VIS/R/005 | Pending
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/001 | Communication breakdown | LSCC/VIS/R/009 | Reset
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/001 | Communication breakdown | LSCC/VIS/R/007 | Repair in/house
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/004 | Operator error | LSCC/VIS/R/008 | Replacement
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/004 | Operator error | LSCC/VIS/R/001 | Adjustment
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/004 | Operator error | LSCC/VIS/R/004 | No action taken
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/004 | Operator error | LSCC/VIS/R/002 | Follow up
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/004 | Operator error | LSCC/VIS/R/010 | Temporary isolation
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/004 | Operator error | LSCC/VIS/R/006 | Re/configuration
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/004 | Operator error | LSCC/VIS/R/003 | Monitoring
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/004 | Operator error | LSCC/VIS/R/005 | Pending
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/004 | Operator error | LSCC/VIS/R/009 | Reset
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/004 | Operator error | LSCC/VIS/R/007 | Repair in/house
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/002 | Data transmission/receive error | LSCC/VIS/R/008 | Replacement
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/002 | Data transmission/receive error | LSCC/VIS/R/001 | Adjustment
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/002 | Data transmission/receive error | LSCC/VIS/R/004 | No action taken
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/002 | Data transmission/receive error | LSCC/VIS/R/002 | Follow up
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/002 | Data transmission/receive error | LSCC/VIS/R/010 | Temporary isolation
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/002 | Data transmission/receive error | LSCC/VIS/R/006 | Re/configuration
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/002 | Data transmission/receive error | LSCC/VIS/R/003 | Monitoring
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/002 | Data transmission/receive error | LSCC/VIS/R/005 | Pending
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/002 | Data transmission/receive error | LSCC/VIS/R/009 | Reset
LSCC/VIS | Visual Information System | LSCC/VIS/P/001 | Console PC Failure | LSCC/VIS/C/002 | Data transmission/receive error | LSCC/VIS/R/007 | Repair in/house
LSCC/VIS | Visual Information System | LSCC/VIS/P/007 | VIS PSU Failure | LSCC/VIS/C/003 | Equipment failure | LSCC/VIS/R/008 | Replacement
LSCC/VIS | Visual Information System | LSCC/VIS/P/007 | VIS PSU Failure | LSCC/VIS/C/003 | Equipment failure | LSCC/VIS/R/001 | Adjustment
LSCC/VIS | Visual Information System | LSCC/VIS/P/007 | VIS PSU Failure | LSCC/VIS/C/003 | Equipment failure | LSCC/VIS/R/004 | No action taken
LSCC/VIS | Visual Information System | LSCC/VIS/P/007 | VIS PSU Failure | LSCC/VIS/C/003 | Equipment failure | LSCC/VIS/R/002 | Follow up
LSCC/VIS | Visual Information System | LSCC/VIS/P/007 | VIS PSU Failure | LSCC/VIS/C/003 | Equipment failure | LSCC/VIS/R/010 | Temporary isolation
LSCC/VIS | Visual Information System | LSCC/VIS/P/007 | VIS PSU Failure | LSCC/VIS/C/003 | Equipment failure | LSCC/VIS/R/006 | Re/configuration
LSCC/VIS | Visual Information System | LSCC/VIS/P/007 | VIS PSU Failure | LSCC/VIS/C/003 | Equipment failure | LSCC/VIS/R/003 | Monitoring
LSCC/VIS | Visual Information System | LSCC/VIS/P/007 | VIS PSU Failure | LSCC/VIS/C/003 | Equipment failure | LSCC/VIS/R/005 | Pending
LSCC/VIS | Visual Information System | LSCC/VIS/P/007 | VIS PSU Failure | LSCC/VIS/C/003 | Equipment failure | LSCC/VIS/R/009 | Reset
LSCC/VIS | Visual Information System | LSCC/VIS/P/007 | VIS PSU Failure | LSCC/VIS/C/003 | Equipment failure | LSCC/VIS/R/007 | Repair in/house
LSCC/VIS | Visual Information System | LSCC/VIS/P/002 | Display Blank | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/008 | Replacement
LSCC/VIS | Visual Information System | LSCC/VIS/P/002 | Display Blank | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/001 | Adjustment
LSCC/VIS | Visual Information System | LSCC/VIS/P/002 | Display Blank | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/004 | No action taken
LSCC/VIS | Visual Information System | LSCC/VIS/P/002 | Display Blank | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/002 | Follow up
LSCC/VIS | Visual Information System | LSCC/VIS/P/002 | Display Blank | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/010 | Temporary isolation
LSCC/VIS | Visual Information System | LSCC/VIS/P/002 | Display Blank | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/006 | Re/configuration
LSCC/VIS | Visual Information System | LSCC/VIS/P/002 | Display Blank | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/003 | Monitoring
LSCC/VIS | Visual Information System | LSCC/VIS/P/002 | Display Blank | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/005 | Pending
LSCC/VIS | Visual Information System | LSCC/VIS/P/002 | Display Blank | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/009 | Reset
LSCC/VIS | Visual Information System | LSCC/VIS/P/002 | Display Blank | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/007 | Repair in/house
LSCC/VIS | Visual Information System | LSCC/VIS/P/003 | Display Colour Distorted | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/008 | Replacement
LSCC/VIS | Visual Information System | LSCC/VIS/P/003 | Display Colour Distorted | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/001 | Adjustment
LSCC/VIS | Visual Information System | LSCC/VIS/P/003 | Display Colour Distorted | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/004 | No action taken
LSCC/VIS | Visual Information System | LSCC/VIS/P/003 | Display Colour Distorted | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/002 | Follow up
LSCC/VIS | Visual Information System | LSCC/VIS/P/003 | Display Colour Distorted | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/010 | Temporary isolation
LSCC/VIS | Visual Information System | LSCC/VIS/P/003 | Display Colour Distorted | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/006 | Re/configuration
LSCC/VIS | Visual Information System | LSCC/VIS/P/003 | Display Colour Distorted | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/003 | Monitoring
LSCC/VIS | Visual Information System | LSCC/VIS/P/003 | Display Colour Distorted | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/005 | Pending
LSCC/VIS | Visual Information System | LSCC/VIS/P/003 | Display Colour Distorted | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/009 | Reset
LSCC/VIS | Visual Information System | LSCC/VIS/P/003 | Display Colour Distorted | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/007 | Repair in/house
LSCC/VIS | Visual Information System | LSCC/VIS/P/005 | Display No Train Arrival Timing | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/008 | Replacement
LSCC/VIS | Visual Information System | LSCC/VIS/P/005 | Display No Train Arrival Timing | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/001 | Adjustment
LSCC/VIS | Visual Information System | LSCC/VIS/P/005 | Display No Train Arrival Timing | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/004 | No action taken
LSCC/VIS | Visual Information System | LSCC/VIS/P/005 | Display No Train Arrival Timing | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/002 | Follow up
LSCC/VIS | Visual Information System | LSCC/VIS/P/005 | Display No Train Arrival Timing | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/010 | Temporary isolation
LSCC/VIS | Visual Information System | LSCC/VIS/P/005 | Display No Train Arrival Timing | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/006 | Re/configuration
LSCC/VIS | Visual Information System | LSCC/VIS/P/005 | Display No Train Arrival Timing | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/003 | Monitoring
LSCC/VIS | Visual Information System | LSCC/VIS/P/005 | Display No Train Arrival Timing | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/005 | Pending
LSCC/VIS | Visual Information System | LSCC/VIS/P/005 | Display No Train Arrival Timing | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/009 | Reset
LSCC/VIS | Visual Information System | LSCC/VIS/P/005 | Display No Train Arrival Timing | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/007 | Repair in/house
LSCC/VIS | Visual Information System | LSCC/VIS/P/006 | Fan Alarm | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/008 | Replacement
LSCC/VIS | Visual Information System | LSCC/VIS/P/006 | Fan Alarm | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/001 | Adjustment
LSCC/VIS | Visual Information System | LSCC/VIS/P/006 | Fan Alarm | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/004 | No action taken
LSCC/VIS | Visual Information System | LSCC/VIS/P/006 | Fan Alarm | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/002 | Follow up
LSCC/VIS | Visual Information System | LSCC/VIS/P/006 | Fan Alarm | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/010 | Temporary isolation
LSCC/VIS | Visual Information System | LSCC/VIS/P/006 | Fan Alarm | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/006 | Re/configuration
LSCC/VIS | Visual Information System | LSCC/VIS/P/006 | Fan Alarm | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/003 | Monitoring
LSCC/VIS | Visual Information System | LSCC/VIS/P/006 | Fan Alarm | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/005 | Pending
LSCC/VIS | Visual Information System | LSCC/VIS/P/006 | Fan Alarm | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/009 | Reset
LSCC/VIS | Visual Information System | LSCC/VIS/P/006 | Fan Alarm | LSCC/VIS/C/005 | PD Platform Display Unit Failure | LSCC/VIS/R/007 | Repair in/house
LSCC/PSS | Power Supply System | LSCC/PSS/P/001 | Fan faulty | LSCC/PSS/C/001 | Component failure | LSCC/PSS/R/003 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/004 | PA Broadcasting To Train Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/004 | PA Broadcasting To Train Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/002 | No Audio | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/003 | NTP server_radio Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/007 | Radio PSU Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/001 | Base radio Failure | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/003 | Equipment failure | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/004 | Missing part | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/001 | Communication breakdown | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/008 | Wrong connection | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/006 | Wear and tear | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/002 | Data transmission/receive error | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/005 | Software corruption | LSCC/RCS/R/007 | Repair in/house
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/008 | Replacement
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/004 | No action taken
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/002 | Follow up
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/010 | Temporary isolation
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/006 | Re/configuration
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/003 | Monitoring
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/005 | Pending
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/009 | Reset
LSCC/RCS | Radio System | LSCC/RCS/P/005 | Radio Antenna | LSCC/RCS/C/007 | Wrong configuration | LSCC/RCS/R/007 | Repair in/house
LSCC/ICOM | Intercom | LSCC/ICOM/P/003 | Telephone not working / No Dial Tone | LSCC/ICOM/C/001 | Equipment failure | LSCC/ICOM/R/001 | Replacement
LSCC/ICOM | Intercom | LSCC/ICOM/P/002 | SCDF intercom voice communication not working | LSCC/ICOM/C/001 | Equipment failure | LSCC/ICOM/R/001 | Replacement
LSCC/ICOM | Intercom | LSCC/ICOM/P/001 | Lift intercom voice communication not working | LSCC/ICOM/C/001 | Equipment failure | LSCC/ICOM/R/001 | Replacement
LSCC/ICOM | Intercom | LSCC/ICOM/P/001 | Lift intercom voice communication not working | LSCC/ICOM/C/001 | Equipment failure | LSCC/ICOM/R/002 | Reset
LSCC/ICOM | Intercom | LSCC/ICOM/P/001 | Lift intercom voice communication not working | LSCC/ICOM/C/002 | Data transmission/receive erro | LSCC/ICOM/R/002 | Reset
LSCC/TVSS | Trainborne Video Surveillance System | LSCC/TVSS/P/002 | Unable to view CCTV | LSCC/TVSS/C/003 | Equipment failure | LSCC/TVSS/R/003 | Replacement
LSCC/TVSS | Trainborne Video Surveillance System | LSCC/TVSS/P/003 | Video Cable faulty | LSCC/TVSS/C/003 | Equipment failure | LSCC/TVSS/R/003 | Replacement
LSCC/TVSS | Trainborne Video Surveillance System | LSCC/TVSS/P/003 | Video Cable faulty | LSCC/TVSS/C/001 | Communication breakdown | LSCC/TVSS/R/001 | Adjustment
LSCC/TVSS | Trainborne Video Surveillance System | LSCC/TVSS/P/003 | Video Cable faulty | LSCC/TVSS/C/002 | Data transmission/receive error | LSCC/TVSS/R/004 | Reset
LSCC/TVSS | Trainborne Video Surveillance System | LSCC/TVSS/P/001 | Display with No Video | LSCC/TVSS/C/003 | Equipment failure | LSCC/TVSS/R/003 | Replacement
LSCC/TVSS | Trainborne Video Surveillance System | LSCC/TVSS/P/001 | Display with No Video | LSCC/TVSS/C/001 | Communication breakdown | LSCC/TVSS/R/001 | Adjustment
LSCC/TVSS | Trainborne Video Surveillance System | LSCC/TVSS/P/001 | Display with No Video | LSCC/TVSS/C/002 | Data transmission/receive error | LSCC/TVSS/R/004 | Reset
LSCC/TVSS | Trainborne Video Surveillance System | LSCC/TVSS/P/001 | Display with No Video | LSCC/TVSS/C/004 | Software corruption | LSCC/TVSS/R/002 | Re/configuration
LSCC/TVSS | Trainborne Video Surveillance System | LSCC/TVSS/P/001 | Display with No Video | LSCC/TVSS/C/005 | Wrong connection | LSCC/TVSS/R/001 | Adjustment
LSCC/TVSS | Trainborne Video Surveillance System | LSCC/TVSS/P/002 | Unable to view CCTV | LSCC/TVSS/C/001 | Communication breakdown | LSCC/TVSS/R/001 | Adjustment
LSCC/TVSS | Trainborne Video Surveillance System | LSCC/TVSS/P/002 | Unable to view CCTV | LSCC/TVSS/C/003 | Equipment failure | LSCC/TVSS/R/001 | Adjustment
LSCC/PSS | Power Supply System | LSCC/PSS/P/002 | AVC rectifier system minor fault | LSCC/PSS/C/001 | Component failure | LSCC/PSS/R/003 | Replacement
LSCC/PSS | Power Supply System | LSCC/PSS/P/002 | AVC rectifier system minor fault | LSCC/PSS/C/002 | Equipment failure | LSCC/PSS/R/003 | Replacement
LSCC/PSS | Power Supply System | LSCC/PSS/P/002 | AVC rectifier system minor fault | LSCC/PSS/C/004 | Others | LSCC/PSS/R/002 | Others
LSCC/PSS | Power Supply System | LSCC/PSS/P/002 | AVC rectifier system minor fault | LSCC/PSS/C/003 | Module (Card) failure | LSCC/PSS/R/003 | Replacement
LSCC/PSS | Power Supply System | LSCC/PSS/P/002 | AVC rectifier system minor fault | LSCC/PSS/C/003 | Module (Card) failure | LSCC/PSS/R/001 | Follow up
LSCC/PSS | Power Supply System | LSCC/PSS/P/002 | AVC rectifier system minor fault | LSCC/PSS/C/001 | Component failure | LSCC/PSS/R/001 | Follow up
LSCC/AVO | Automatic Vehicle Operation | LSCC/AVO/P/004 | SCD bay minor fault | LSCC/AVO/C/003 | Others | LSCC/AVO/R/004 | Reset
LSCC/AVO | Automatic Vehicle Operation | LSCC/AVO/P/004 | SCD bay minor fault | LSCC/AVO/C/002 | Module (Card) failure | LSCC/AVO/R/003 | Replacement
LSCC/AVO | Automatic Vehicle Operation | LSCC/AVO/P/003 | SCD bay major fault | LSCC/AVO/C/003 | Others | LSCC/AVO/R/002 | Others
LSCC/AVO | Automatic Vehicle Operation | LSCC/AVO/P/005 | SCD test control terminal fault | LSCC/AVO/C/003 | Others | LSCC/AVO/R/004 | Reset
LSCC/AVO | Automatic Vehicle Operation | LSCC/AVO/P/005 | SCD test control terminal fault | LSCC/AVO/C/001 | Equipment failure | LSCC/AVO/R/003 | Replacement
LSCC/AVO | Automatic Vehicle Operation | LSCC/AVO/P/002 | FT/OT bay fault | LSCC/AVO/C/003 | Others | LSCC/AVO/R/004 | Reset
LSCC/AVO | Automatic Vehicle Operation | LSCC/AVO/P/002 | FT/OT bay fault | LSCC/AVO/C/001 | Equipment failure | LSCC/AVO/R/003 | Replacement
LSCC/AVO | Automatic Vehicle Operation | LSCC/AVO/P/001 | AVO guideway (SLC & PDGC) fault | LSCC/AVO/C/003 | Others | LSCC/AVO/R/004 | Reset
LSCC/AVO | Automatic Vehicle Operation | LSCC/AVO/P/001 | AVO guideway (SLC & PDGC) fault | LSCC/AVO/C/001 | Equipment failure | LSCC/AVO/R/003 | Replacement
LSCC/AVO | Automatic Vehicle Operation | LSCC/AVO/P/007 | SD bay minor fault | LSCC/AVO/C/003 | Others | LSCC/AVO/R/004 | Reset
LSCC/AVO | Automatic Vehicle Operation | LSCC/AVO/P/007 | SD bay minor fault | LSCC/AVO/C/002 | Module (Card) failure | LSCC/AVO/R/005 | Swap card for monitoring
LSCC/AVO | Automatic Vehicle Operation | LSCC/AVO/P/007 | SD bay minor fault | LSCC/AVO/C/002 | Module (Card) failure | LSCC/AVO/R/003 | Replacement
LSCC/AVO | Automatic Vehicle Operation | LSCC/AVO/P/007 | SD bay minor fault | LSCC/AVO/C/003 | Others | LSCC/AVO/R/001 | Monitoring
LSCC/AVO | Automatic Vehicle Operation | LSCC/AVO/P/007 | SD bay minor fault | LSCC/AVO/C/001 | Equipment failure | LSCC/AVO/R/003 | Replacement
LSCC/AVO | Automatic Vehicle Operation | LSCC/AVO/P/006 | SD bay major fault | LSCC/AVO/C/001 | Equipment failure | LSCC/AVO/R/003 | Replacement
LSCC/AVO | Automatic Vehicle Operation | LSCC/AVO/P/008 | SD box minor fault | LSCC/AVO/C/003 | Others | LSCC/AVO/R/004 | Reset
LSCC/AVO | Automatic Vehicle Operation | LSCC/AVO/P/008 | SD box minor fault | LSCC/AVO/C/002 | Module (Card) failure | LSCC/AVO/R/003 | Replacement
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/003 | Module (Card) failure | LSCC/AVP/R/008 | Replacement
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/004 | Others | LSCC/AVP/R/005 | No action taken
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/001 | Component failure | LSCC/AVP/R/010 | Swap card for monitoring
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/002 | Equipment failure | LSCC/AVP/R/001 | Follow up
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/003 | Module (Card) failure | LSCC/AVP/R/010 | Swap card for monitoring
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/002 | Equipment failure | LSCC/AVP/R/009 | Reset
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/002 | Equipment failure | LSCC/AVP/R/008 | Replacement
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/001 | Component failure | LSCC/AVP/R/008 | Replacement
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/004 | Others | LSCC/AVP/R/010 | Swap card for monitoring
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/004 | Others | LSCC/AVP/R/009 | Reset
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/003 | Module (Card) failure | LSCC/AVP/R/009 | Reset
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/003 | Module (Card) failure | LSCC/AVP/R/003 | Follow up by engineer
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/001 | Component failure | LSCC/AVP/R/007 | Pending
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/005 | Tolerance out of specification | LSCC/AVP/R/008 | Replacement
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/004 | Others | LSCC/AVP/R/006 | Others
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/004 | Others | LSCC/AVP/R/004 | Monitoring
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/002 | Equipment failure | LSCC/AVP/R/006 | Others
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/002 | Equipment failure | LSCC/AVP/R/002 | Follow up by contractor
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/002 | Equipment failure | LSCC/AVP/R/004 | Monitoring
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/003 | Module (Card) failure | LSCC/AVP/R/004 | Monitoring
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/002 | AVP/VD bay minor fault | LSCC/AVP/C/002 | Equipment failure | LSCC/AVP/R/001 | Follow up
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/001 | AVP/VD bay major fault | LSCC/AVP/C/004 | Others | LSCC/AVP/R/009 | Reset
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/005 | MT bay fault | LSCC/AVP/C/002 | Equipment failure | LSCC/AVP/R/008 | Replacement
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/005 | MT bay fault | LSCC/AVP/C/004 | Others | LSCC/AVP/R/009 | Reset
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/003 | Emergency stop plunger fault | LSCC/AVP/C/002 | Equipment failure | LSCC/AVP/R/008 | Replacement
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/003 | Emergency stop plunger fault | LSCC/AVP/C/004 | Others | LSCC/AVP/R/009 | Reset
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/004 | MSO bay minor fault | LSCC/AVP/C/006 | Wear and tear | LSCC/AVP/R/009 | Reset
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/006 | Relay bay minor fault | LSCC/AVP/C/003 | Module (Card) failure | LSCC/AVP/R/008 | Replacement
LSCC/AVP | Automatic Vehicle Protection | LSCC/AVP/P/006 | Relay bay minor fault | LSCC/AVP/C/002 | Equipment failure | LSCC/AVP/R/008 | Replacement
LSCC/AVS | Automatic Vehicle Supervision | LSCC/AVS/P/001 | AVS computer bay minor fault | LSCC/AVS/C/001 | Others | LSCC/AVS/R/001 | Monitoring
LSCC/AVS | Automatic Vehicle Supervision | LSCC/AVS/P/001 | AVS computer bay minor fault | LSCC/AVS/C/001 | Others | LSCC/AVS/R/002 | Others
LSCC/AVS | Automatic Vehicle Supervision | LSCC/AVS/P/002 | AVS I/O bay minor fault | LSCC/AVS/C/002 | Equipment failure | LSCC/AVS/R/003 | Replacement
LSCC/CBI | Computer Based Interlocking | LSCC/CBI/P/003 | Interlocking bay minor fault | LSCC/CBI/C/001 | Communication breakdown | LSCC/CBI/R/006 | Reset
LSCC/CBI | Computer Based Interlocking | LSCC/CBI/P/001 | CBI control terminal fault | LSCC/CBI/C/004 | Equipment failure | LSCC/CBI/R/005 | Replacement
LSCC/CBI | Computer Based Interlocking | LSCC/CBI/P/001 | CBI control terminal fault | LSCC/CBI/C/008 | Software corruption | LSCC/CBI/R/006 | Reset
LSCC/CBI | Computer Based Interlocking | LSCC/CBI/P/001 | CBI control terminal fault | LSCC/CBI/C/011 | Wrong configuration | LSCC/CBI/R/004 | Re/configuration
LSCC/CBI | Computer Based Interlocking | LSCC/CBI/P/002 | ET bay minor fault | LSCC/CBI/C/007 | Others | LSCC/CBI/R/003 | Others
LSCC/CBI | Computer Based Interlocking | LSCC/CBI/P/004 | Switch machine fault | LSCC/CBI/C/006 | Lack of lubrication | LSCC/CBI/R/002 | Apply grease
LSCC/CBI | Computer Based Interlocking | LSCC/CBI/P/004 | Switch machine fault | LSCC/CBI/C/010 | Wear and tear | LSCC/CBI/R/005 | Replacement
LSCC/CBI | Computer Based Interlocking | LSCC/CBI/P/004 | Switch machine fault | LSCC/CBI/C/009 | Tolerance out of specification | LSCC/CBI/R/001 | Adjustment
LSCC/CBI | Computer Based Interlocking | LSCC/CBI/P/004 | Switch machine fault | LSCC/CBI/C/002 | Component failure | LSCC/CBI/R/005 | Replacement
LSCC/CBI | Computer Based Interlocking | LSCC/CBI/P/004 | Switch machine fault | LSCC/CBI/C/005 | Installation work | LSCC/CBI/R/005 | Replacement
LSCC/CBI | Computer Based Interlocking | LSCC/CBI/P/004 | Switch machine fault | LSCC/CBI/C/007 | Others | LSCC/CBI/R/005 | Replacement
LSCC/CBI | Computer Based Interlocking | LSCC/CBI/P/004 | Switch machine fault | LSCC/CBI/C/003 | Defect work | LSCC/CBI/R/005 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/003 | AVP controller major fault | LSCC/OBV/C/004 | Module (Card) failure | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/008 | VD transmitter major fault | LSCC/OBV/C/004 | Module (Card) failure | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/008 | VD transmitter major fault | LSCC/OBV/C/003 | Equipment failure | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/004 | AVP controller minor fault | LSCC/OBV/C/007 | Others | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/004 | AVP controller minor fault | LSCC/OBV/C/002 | Component failure | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/004 | AVP controller minor fault | LSCC/OBV/C/004 | Module (Card) failure | LSCC/OBV/R/009 | Reset
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/004 | AVP controller minor fault | LSCC/OBV/C/004 | Module (Card) failure | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/004 | AVP controller minor fault | LSCC/OBV/C/007 | Others | LSCC/OBV/R/009 | Reset
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/004 | AVP controller minor fault | LSCC/OBV/C/003 | Equipment failure | LSCC/OBV/R/003 | Monitoring
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/004 | AVP controller minor fault | LSCC/OBV/C/003 | Equipment failure | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/005 | AVP receiver minor fault | LSCC/OBV/C/004 | Module (Card) failure | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/005 | AVP receiver minor fault | LSCC/OBV/C/005 | No Fault Found | LSCC/OBV/R/003 | Monitoring
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/005 | AVP receiver minor fault | LSCC/OBV/C/003 | Equipment failure | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/009 | VD transmitter minor fault | LSCC/OBV/C/004 | Module (Card) failure | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/009 | VD transmitter minor fault | LSCC/OBV/C/003 | Equipment failure | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/009 | VD transmitter minor fault | LSCC/OBV/C/007 | Others | LSCC/OBV/R/009 | Reset
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/009 | VD transmitter minor fault | LSCC/OBV/C/005 | No Fault Found | LSCC/OBV/R/002 | Follow up
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/009 | VD transmitter minor fault | LSCC/OBV/C/007 | Others | LSCC/OBV/R/003 | Monitoring
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/009 | VD transmitter minor fault | LSCC/OBV/C/003 | Equipment failure | LSCC/OBV/R/006 | Others
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/009 | VD transmitter minor fault | LSCC/OBV/C/003 | Equipment failure | LSCC/OBV/R/002 | Follow up
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/009 | VD transmitter minor fault | LSCC/OBV/C/005 | No Fault Found | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/001 | AVO controller major fault | LSCC/OBV/C/004 | Module (Card) failure | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/001 | AVO controller major fault | LSCC/OBV/C/006 | Operator error | LSCC/OBV/R/004 | No action taken
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/006 | Station AVO major fault | LSCC/OBV/C/007 | Others | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/006 | Station AVO major fault | LSCC/OBV/C/003 | Equipment failure | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/006 | Station AVO major fault | LSCC/OBV/C/005 | No Fault Found | LSCC/OBV/R/006 | Others
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/002 | AVO controller minor fault | LSCC/OBV/C/004 | Module (Card) failure | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/002 | AVO controller minor fault | LSCC/OBV/C/003 | Equipment failure | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/002 | AVO controller minor fault | LSCC/OBV/C/005 | No Fault Found | LSCC/OBV/R/005 | No Fault Found
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/002 | AVO controller minor fault | LSCC/OBV/C/007 | Others | LSCC/OBV/R/009 | Reset
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/007 | Station AVO minor fault | LSCC/OBV/C/004 | Module (Card) failure | LSCC/OBV/R/009 | Reset
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/007 | Station AVO minor fault | LSCC/OBV/C/007 | Others | LSCC/OBV/R/009 | Reset
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/007 | Station AVO minor fault | LSCC/OBV/C/004 | Module (Card) failure | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/007 | Station AVO minor fault | LSCC/OBV/C/001 | Communication breakdown | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/007 | Station AVO minor fault | LSCC/OBV/C/003 | Equipment failure | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/007 | Station AVO minor fault | LSCC/OBV/C/005 | No Fault Found | LSCC/OBV/R/001 | Feedback to section STO (Tech
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/007 | Station AVO minor fault | LSCC/OBV/C/002 | Component failure | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/007 | Station AVO minor fault | LSCC/OBV/C/007 | Others | LSCC/OBV/R/003 | Monitoring
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/010 | VIS DB (NFB) trip | LSCC/OBV/C/007 | Others | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/011 | VIS fault | LSCC/OBV/C/007 | Others | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/011 | VIS fault | LSCC/OBV/C/002 | Component failure | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/011 | VIS fault | LSCC/OBV/C/003 | Equipment failure | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/011 | VIS fault | LSCC/OBV/C/001 | Communication breakdown | LSCC/OBV/R/009 | Reset
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/011 | VIS fault | LSCC/OBV/C/007 | Others | LSCC/OBV/R/009 | Reset
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/011 | VIS fault | LSCC/OBV/C/004 | Module (Card) failure | LSCC/OBV/R/008 | Replacement
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/011 | VIS fault | LSCC/OBV/C/003 | Equipment failure | LSCC/OBV/R/009 | Reset
LSCC/OBV | Automatic Train Control Onboard | LSCC/OBV/P/011 | VIS fault | LSCC/OBV/C/002 | Component failure | LSCC/OBV/R/002 | Follow up
LSCC/CLK | Clock System | LSCC/CLK/P/004 | Clock Synchronization Failure | LSCC/CLK/C/001 | Equipment failure | LSCC/CLK/R/004 | Reset
LSCC/CLK | Clock System | LSCC/CLK/P/004 | Clock Synchronization Failure | LSCC/CLK/C/001 | Equipment failure | LSCC/CLK/R/003 | Replacement
LSCC/CLK | Clock System | LSCC/CLK/P/004 | Clock Synchronization Failure | LSCC/CLK/C/001 | Equipment failure | LSCC/CLK/R/002 | Follow up
LSCC/CLK | Clock System | LSCC/CLK/P/004 | Clock Synchronization Failure | LSCC/CLK/C/001 | Equipment failure | LSCC/CLK/R/001 | Adjustment
LSCC/VSS | Video Surveillance System | LSCC/VSS/P/005 | Same CCTV Alarm Referenced to two toggling car numbers in same train | LSCC/VSS/C/003 | Equipment failure | LSCC/VSS/R/004 | Replacement
LSCC/VSS | Video Surveillance System | LSCC/VSS/P/004 | Parameters set for CCTV Image viewing or Recording are lost / corrupted | LSCC/VSS/C/003 | Equipment failure | LSCC/VSS/R/004 | Replacement
LSCC/VSS | Video Surveillance System | LSCC/VSS/P/002 | CCTV Image not updated or incorrect. | LSCC/VSS/C/003 | Equipment failure | LSCC/VSS/R/004 | Replacement
LSCC/VSS | Video Surveillance System | LSCC/VSS/P/002 | CCTV Image not updated or incorrect. | LSCC/VSS/C/006 | No Fault Found | LSCC/VSS/R/001 | Adjustment
LSCC/RCS | Radio System | LSCC/RCS/P/006 | Radio Connection Status Problem | LSCC/RCS/C009 | Communication breakdown | LSCC/RCS/R/002 | Follow up
LSCC/TCSER | Track circuit (SER/CCER) | LSCC/TCSER/P/001 | Track circuit down | LSCC/TCSER/C/001 | Others | LSCC/TCSER/R/001 | Reset
LSCC/TCTRK | Track circuit (TRACKSIDE) | LSCC/TCTRK/P/001 | Track circuit down | LSCC/TCTRK/C/001 | Others | LSCC/TCTRK/R/001 | Reset
LSCC/LSCC | Signalling & Communication | LSCC/NFF | No Fault Found | LSCC/NFF | No Fault Found | LSCC/NFF | No Fault Found